## Sheet1
WWTPName | Total_Samples | Percent_A | Percent_B | Percent_Fail | Avg_Input_Copies
City of Everett WWTP | 22 | 59.1 | 27.3 | 13.6 | 79.7
Arlington Water Reclamation Facility | 19 | 57.9 | 36.8 | 5.3 | 87.01
Ellensburg Wastewater Treatment Facility | 16 | 50 | 37.5 | 12.5 | 12.92
King County South Wastewater Treatment Plant | 16 | 50 | 18.8 | 31.2 | 39.97
Alderwood Picnic Point WWTP | 23 | 47.8 | 26.1 | 26.1 | 48.28
City of West Richland WWTP | 12 | 41.7 | 33.3 | 25 | 33.56
Walla Walla Reclamation and WWTP | 17 | 41.2 | 58.8 | 0 | 39.73
City of Pasco Wastewater Treatment Plant | 15 | 40 | 20 | 40 | 35.31
Westside Sewage Treatment Plant | 27 | 37 | 33.3 | 29.6 | 40.34
Tacoma Central WWTP | 19 | 36.8 | 42.1 | 21.1 | 30
City of Puyallup WWTP | 26 | 36 | 56 | 8 | 40.3
City of Pullman WWTP | 14 | 35.7 | 35.7 | 28.6 | 50.63
LOTT Budd Inlet Water Reclamation Facility Plant | 17 | 35.3 | 35.3 | 29.4 | 36.26
Oak Harbor Clean Water Facility | 23 | 34.8 | 65.2 | 0 | 28.25
Brightwater Treatment Plant | 26 | 34.6 | 19.2 | 46.2 | 40.69
West Point Wastewater Treatment Plant | 13 | 30.8 | 61.5 | 7.7 | 33.76
Marine Park Wastewater Treatment Facility | 32 | 30 | 13.3 | 56.7 | 29.88
City of Wenatchee WWTP | 31 | 29 | 41.9 | 29 | 39.89
Mount Vernon WWTP | 29 | 28.6 | 42.9 | 28.6 | 39.27
Salmon Creek Treatment Plant (SCTP) Influent | 28 | 28.6 | 39.3 | 32.1 | 30.33
Ephrata WWTP | 11 | 27.3 | 54.5 | 18.2 | 32.88
City of Stanwood WWTP | 26 | 26.9 | 50 | 23.1 | 39.34
City of Port Townsend WWTP | 23 | 26.1 | 26.1 | 47.8 | 31.98
Chambers Creek WWTP | 21 | 23.8 | 23.8 | 52.4 | 32.5
City of Brewster WWTP | 17 | 17.6 | 58.8 | 23.5 | 31.09
City of Yakima WWTP | 35 | 17.6 | 35.3 | 47.1 | 22.98
Nisqually WRP Influent | 17 | 17.6 | 35.3 | 47.1 | 69.55
Coupeville WWTP | 20 | 15 | 45 | 40 | 40.25
Spokane County Regional Water Reclamation Facility | 41 | 15 | 70 | 15 | 20.79
Riverside Park Water Reclamation Facility | 47 | 10.6 | 51.1 | 38.3 | 18.51